## Info
JX3-systembus configurator
Die Firma Jetter AG behält sich das Recht vor, Änderungen an Ihren Produkten vorzunehmen, die der technischen Weiterentwicklung dienen. Diese Änderungen werden nicht notwendigerweise in jedem Einzelfall dokumentiert. Dieses Konfigurationstool und die darin enthaltenen Informationen wurden mit der gebotenen Sorgfalt zusammengestellt. Die Firma Jetter AG übernimmt jedoch keine Gewähr für Druckfehler oder andere Fehler oder daraus entstehende Schäden. Die in diesem Konfigurationstool genannten Marken und Produktnamen sind Warenzeichen oder eingetragene Warenzeichen der jeweiligen Titelhalter.
Jetter AG reserves the right to make alterations to its products in the interest of technical progress. These alterations need not to be documented in every single case. This tool and the information contained herein have been compiled with due diligence. Jetter AG shall not be liable for errors contained herein or for incidental or consequential damage in connection with the furnishing, performance, or use of this material. The brand names and product names used in this tool are trade marks or registered trade marks of the respective title owner.

## JX3-systembus data
JX3-systembus configurator | 1.05
controller or bus-head
configuration of JX3-station (data)
max number of modules |  | 16
max In-size |  | 88
max Out-size |  | 88
total number of modules |  | 0
In-size of JX3-station |  | 0
Out-size of JX3-station |  | 0
module name | description | In-size | Out-size | number | sum In-size | sum Out-size
JX3-AI4 | Analog Input Module | 10 | 0 |  | 0 | 0
JX3-AO4 | Analog Output Module | 2 | 8 |  | 0 | 0
JX3-CNT | Counter Module | 10 | 2 |  | 0 | 0
JX3-DI16 | Digital Input Module | 4 | 0 |  | 0 | 0
JX3-DIO16 | Digital Input/Output Module | 4 | 2 |  | 0 | 0
JX3-DMS2 | Strain Gage Module | 10 | 0 |  | 0 | 0
JX3-DO16 | Digital Output Module | 2 | 2 |  | 0 | 0
JX3-MIX1 | Multi-Purpose Expansion Module | 16 | 4 |  | 0 | 0
JX3-MIX2 | Multi-Purpose Expansion Module | 16 | 4 |  | 0 | 0
JX3-THI2-RTD | Pt100/Pt1000 Temperature Measurement | 10 | 0 |  | 0 | 0
JX3-THI2-TC | Thermocouple Temperature Measurement | 10 | 0 |  | 0 | 0

## JX3-systembus power
JX3-systembus configurator | 1.05
controller or bus-head
configuration of JX3-station (power)
number of Modules |  | max#: | 8
|  | P5Vmax [W] | P24Vmax [W] |  | sum P5V [W] | sum P24V [W]
JC-3xx/JX3-BN-ETH |  | 6 | 18 |  | 0 | 0
JX3-BN-CAN |  | 6 | 22
JX3-PS1 |  | 6 | 24
module name | description | I5V[mA] | I24V[mA] | number | P5V [mW] | P24V [mW]
JX3-AI4 | Analog Input Module | 135 | 10 |  | 0 | 0
JX3-AO4 | Analog Output Module | 70 | 70 |  | 0 | 0
JX3-AO4 Current | Analog Output Module (in Current Mode) | 70 | 120 |  | 0 | 0
JX3-CNT | Counter Module | 80 | 10 |  | 0 | 0
JX3-DI16 | Digital Input Module | 55 | 12 |  | 0 | 0
JX3-DIO16 | Digital Input/Output Module | 55 | 12 |  | 0 | 0
JX3-DMS2 | Strain Gage Module | 65 | 65 |  | 0 | 0
JX3-DO16 | Digital Output Module | 80 | 0 |  | 0 | 0
JX3-MIX1 | Multi-Purpose Expansion Module | 110 | 20 |  | 0 | 0
JX3-MIX2 | Multi-Purpose Expansion Module | 110 | 20 |  | 0 | 0
JX3-THI2-RTD | Pt100/Pt1000 Temperature Measurement | 210 | 0 |  | 0 | 0
JX3-THI2-TC | Thermocouple Temperature Measurement | 210 | 0 |  | 0 | 0